## CBA Table
COST-BENEFIT ANALYSIS of
Yearly Costs for an Alternate Facility
LINE ITEM | Present Arrangement | Cold Site | Warm Site | Hot Site | Side Notes
Rotation backups | 400 | 400 | 400 | 400
Online backups | 1200 | 1200 | 1200 | N/A
Room availability contract | N/A | 750 | N/A | N/A
Room rent (600/sf) | 2100 | 1000 | 13400 | 13400 | Cost for a two-week emergency period, or for interrupted busines testing. Warm and hot site options assume continuous room occupancy and availability year-round.
ADP equipment/files | 600 | 600 | 1000 | 1000 | ADP equipment costs are amortized over five years.
Telephone lines (2) | 500 | 400 | 3000 | 3000
Facsimile line | 400 | 400 | 3000 | 3000 | This older technology may be replaced by a similarly priced secure system.
Portable office kit | 300 | 300 | 300 | 300
Yearly test | 1000 | 1000 | 850 | 750 | Yearly interrupted business testing that requires one or more days as necessary to assure system integrity and function.
BOP insurance | 3000 | 3000 | 2200 | 1500
SUBTOTALS | 9500 | 9050 | 25350 | 23350 | Sums all the costs of operating a site mode
Risk Factor | 1.4 | 1.2 | 1.1 | 1 | Subjective risk factor of cost miscalculations due to scarcity in a widespread crisis or difficulties from inadequate preparations
Potential operational costs | 13300 | 10860 | 27885 | 23350
Recovery time in days | 5 | 3 | 2 | 0.1666 | Recovery times determined through the business continuity surveys and planning.
Revenue loss/nonoperational day | 4000 | 4000 | 4000 | 4000 | The organization's estimated revenue on an average day.
Potential lost revenues | 20000 | 12000 | 8000 | 666.4 | The organization's estimated revenue losses during the recovery time frame.
TOTAL COSTS | 33300 | 22860 | 35885 | 24016.4 | Considers maintenance and projected costs during an actual crisis or business interruption test in a given year.
Cost-Benefit Ranking | 3 | 1 | 4 | 2

## Setup
Setup Page
Title | Yearly Costs for an Alternate Facility
Table Labels | Show As
Row Descriptor | LINE ITEM
Column 2 Descriptor | Present Arrangement
Column 3 Descriptor | Cold Site
Column 4 Descriptor | Warm Site
Column 5 Descriptor | Hot Site